| Confined Spaces Entry Permit/Checklist (OSHA 29 CFR 1910.146) MUST BE COMPLETED PRIOR TO ENTERING CONFINED SPACES “Permit Valid For the Assigned Task Only & Not to Exceed One Work Shift” |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility Name: |  |  |  |  | Division/Department: |  |  |  |  |  |  |  |
| Date: |  |  |  |  | Time Issued: |  |  |  |  | Time Expired: |  |  |
| Description Of Space |  |  |  |  |  |  |  |  |  |  |  |  |
| PURPOSE FOR ENTRY | Plugged Nozzles Cleaning Lubrication Modification Preventative Maintenance |  |  |  |  |  |  |  |  |  |  |  |
|  | Other (describe other) |  |  |  |  |  |  |  |  |  |  |  |
| ENTRANTS |  |  |  |  |  |  |  |  |  |  |  |  |
| WATCH PERON (IF REQURED) | (Name): |  |  |  |  |  |  |  |  |  |  |  |
| RESCUE NOTIFICATION (REQUIRED) | Fire & Rescue: |  |  |  |  |  |  |  |  |  |  |  |
|  | Internal rescue team (list names): |  |  |  |  |  |  |  |  |  |  |  |
| COMMUNICATION PLAN | Mobile phone | 2-way radio |  | Verbally |  | Visually |  |  |  |  |  |  |
|  | Other (enter here) |  |  |  |  |  |  |  |  |  |  |  |
| LOCKOUT TAGOUT | All power supplies have been eliminated i.e. electrical circuits, pumps, pneumatic values, agitators & power supplies locked and tagged out? |  |  |  |  |  |  |  |  |  | Yes | No |
|  | Conveyors, feed lines (spray header) blanked, disconnected or secured in “OFF” position? |  |  |  |  |  |  |  |  |  | Yes | No |
| ATMOSPHERIC CONDITIONS | Oxygen level is between 19.5% and 23.5%? (Enter O2% ) |  |  |  |  |  |  |  |  |  | Yes | No |
|  | Is there a flammable concentration involved? Combustibility/Flammable Concentration: (</=10% of LFL/LEL) (Enter LEL% ) |  |  |  |  |  |  |  |  |  | Yes | No |
|  | List concentrations below from pre-entry Confined Space Monitor |  |  |  |  |  |  |  |  |  | Yes | No |
|  | CONTAMINANT |  |  | CONCENTRATION DETECTED (LIST LEVELS FROM MONITOR) |  |  |  |  | OSHA Permissible Exposure Limit |  |  |  |
|  | HYDROGEN SULFIDE (H2S) |  |  |  |  |  |  |  | 20 PPM |  |  |  |
|  | AMMONIA (NH3) |  |  |  |  |  |  |  | 50 PPM |  |  |  |
|  | CARBON MONOXIDE (CO) |  |  |  |  |  |  |  | 50 PPM |  |  |  |
|  | OTHER: |  |  |  |  |  |  |  |  |  |  |  |
|  | Space ventilated? |  |  |  |  |  |  |  |  |  | Yes | No |
| HOT WORK | Hot work permit required? If yes, this becomes a potential “Immediate Danger to Life & Health” (IDLH) environment. |  |  |  |  |  |  |  |  |  | Yes | No |
| EQUIPMENT AND PPE | Are tools, equipment & electrical devices safe? |  |  |  |  |  |  |  |  |  | Yes | No |
|  | Personal Protective Equipment (PPE) in use? If yes, list PPE: |  |  |  |  |  |  |  |  |  | Yes | No |
|  | Fall arrest equipment and tie-off required? |  |  |  |  |  |  |  |  |  | Yes | No |
| PERMIT VERIFICATION | Permit Completed By |  | Print Name: |  |  |  |  | Signature: |  |  |  |  |
|  | Supervisor Authorizing Permit |  | Print Name: |  |  |  |  | Signature: |  |  |  |  |

COMPLETED PERMIT MUST BE FILED IN AFFECTED DIVISION SAFETY FILES

(One year record retention required – Subject to OS&H Audit)