Hot Work Permit

| Date of Issue: |  |
| --- | --- |
| Expiration Date: |  |
| Work Location: |  |
| Type of Hot Work Activities: |  |
| Facility Phone Number: |  |
| Worker’s Name: |  |
| Worker’s Title/Job Function: |  |
| Required PPE: |  |
| Required Equipment: |  |
| Expiration Date: |  |
| Work Location: |  |
| Type of Hot Work Activities: |  |

Please complete this checklist before starting work activities:

| Hoses, sprinklers, and fire extinguishers are in working order and easily accessible. | ☐ |
| --- | --- |
| Required equipment is in working order (torches, welding leads, extension cords, etc.) | ☐ |
| All flammable debris and objects have been swept or removed from within 35 feet of the work area. | ☐ |
| Worker understands the emergency procedures for the facility he or she is working in. | ☐ |
| All flammable liquids have been removed from within 35 feet of the hot work area. | ☐ |
| All openings, ducts, holes, etc. within the hot work area are closed. | ☐ |
| Floors and walkways beneath the hot work area are protected using fire resistant shields. | ☐ |
| Hot work area is closed off to workers without a permit. | ☐ |
| Fume collector or ventilation system is set up to maintain safe air quality. | ☐ |
| Non-essential electrical components have been unplugged so sparks do not reach combustibles. | ☐ |
| All containers have been cleared of flammable liquids, vapors, and other objects. | ☐ |
| Fire watch is in place to occur for a minimum of 30 minutes after hot work activities are complete. | ☐ |
| Fire watch has suppressants like water sources and/or a fire extinguisher nearby. | ☐ |

The hot work area is secure of all fire risks, including airborne and electrical hazards. The worker understands his/her responsibilities and the facility’s emergency procedures if an incident should occur.

| Facility Supervisor Signature: | Date: |
| --- | --- |
| Hot Work Operator Signature: | Date |