# DIVISION OF OCCUPATIONAL HEALTH AND SAFETY

# OFFICE SAFETY CHECKLIST

| Institute: |  | Facility: |  | Survey Date: |  |
| --- | --- | --- | --- | --- | --- |
| Building/Rooms covered on this checklist: |  |  |  |  |  |
| During the survey of the designated area, complete the checklist below. Check N/A if the item does not apply. |  |  |  |  |  |

| BASIC LIFE SAFETY | YES | NO | N/A | COMMENTS | CORRECTIVE ACTION TAKEN | CORRECTION COMPLETED |
| --- | --- | --- | --- | --- | --- | --- |
| - Are exit signs illuminated and visible? |  |  |  |  |  |  |
| - Are corridors and exits free from obstructions and unlocked? |  |  |  |  |  |  |
| - Access to exit doesn’t require travel through high hazard area? |  |  |  |  |  |  |
| - Stairways are in good repair with handrails and non-slip tread? |  |  |  |  |  |  |
| - Stairways are not being used for storage? |  |  |  |  |  |  |
| - Stairway steps are uniform in size? |  |  |  |  |  |  |
| - Is the Emergency Evacuation Route & Action Plan posted? |  |  |  |  |  |  |
| - Are exit doors closed and not propped open? |  |  |  |  |  |  |
| - Is there no obvious damage to sprinklers? |  |  |  |  |  |  |
| - Are fire extinguishers easily accessible, checked monthly, and operational? |  |  |  |  |  |  |
| - Are fire extinguishers mounted so that the travel distance from employees to any extinguisher is 75 feet or less? |  |  |  |  |  |  |
| GENERAL OFFICE SAFETY | YES | NO | N/A | COMMENTS | CORRECTIVE ACTION TAKEN | CORRECTION COMPLETED |
| - Are aisles, doorways and corners free of obstructions to permit visibility and movement? |  |  |  |  |  |  |
| - Lighting in work areas and walkways adequate? |  |  |  |  |  |  |
| - Are chairs in safe condition and are caster, rungs and legs sturdy? |  |  |  |  |  |  |
| - Are all equipment and supplies in their proper places? |  |  |  |  |  |  |
| - Is there adequate walking and egress clearance? - 44” for corridors and stairways. - 36” for aisles. - 32” for doors. |  |  |  |  |  |  |
| - Are carts, dollies, etc. available for use in transporting heavy objects and boxes? |  |  |  |  |  |  |
| - Is housekeeping being adequately maintained? |  |  |  |  |  |  |
| - Are MSDS available for office and housekeeping chemicals? |  |  |  |  |  |  |
| - Are OSHA posters prominently displayed? |  |  |  |  |  |  |
| TRIP/FALL HAZARDS | YES | NO | N/A | COMMENTS | CORRECTIVE ACTION TAKEN | CORRECTION COMPLETED |
| - Is the floor surface level and undamaged? |  |  |  |  |  |  |
| - The floor is not wet or slippery? - A warning sign is available in case of spills? - Cleanup supplies are readily available? - Non-slip mats are in entryways if needed? |  |  |  |  |  |  |

| TRIP/FALL HAZARDS (continued) | YES | NO | N/A | COMMENTS | CORRECTIVE ACTION TAKEN | CORRECTION COMPLETED |
| --- | --- | --- | --- | --- | --- | --- |
| - Are carpeted areas clean, carpets secured to floor and free of worn or frayed seams? |  |  |  |  |  |  |
| - Is any equipment or supplies protruding into walkways? |  |  |  |  |  |  |
| - Are there cords or cables causing a trip hazard? |  |  |  |  |  |  |
| - Are permanent use cords covered by runners when crossing walkways? |  |  |  |  |  |  |
| - Is a step stool or ladder available to minimize the use of chairs for reaching high objects? |  |  |  |  |  |  |
| ELECTRICAL | YES | NO | N/A | COMMENTS | CORRECTIVE ACTION TAKEN | CORRECTION COMPLETED |
| - Are GFCI outlets within 6 feet of a water source? |  |  |  |  |  |  |
| - Is access to electrical panels or electrical room unobstruction (at least 36”)? |  |  |  |  |  |  |
| - Are outlets overloaded? |  |  |  |  |  |  |
| - Extension cords are not used in lieu of fixed wiring? |  |  |  |  |  |  |
| - A maximum of one power strip per electrical receptacle is used? (no daisy chains) |  |  |  |  |  |  |
| - Electrical cords and plugs are in good condition? (i.e., not frayed, taped, spliced, or missing ground prongs) |  |  |  |  |  |  |
| - Electrical receptacles are in good working condition? |  |  |  |  |  |  |
| - All electrical equipment in good working condition? |  |  |  |  |  |  |
| - Are electrical closets free of storage? |  |  |  |  |  |  |
| ELECTRICAL (continued) | YES | NO | N/A | COMMENTS | CORRECTIVE ACTION TAKEN | CORRECTION COMPLETED |
| - Are personal appliances such as space heaters or coffee makers compliant with the buildings electrical circuit system? |  |  |  |  |  |  |
| - Are space heaters equipped with a multi-directional tip-over switch? |  |  |  |  |  |  |
| - Are space heaters equipped with an overheat sensor? |  |  |  |  |  |  |
| MAINTENANCE (outside and inside) | YES | NO | N/A | COMMENTS | CORRECTIVE ACTION TAKEN | CORRECTION COMPLETED |
| - Are doors and locks in good working order? |  |  |  |  |  |  |
| - Are ceiling tiles intact, undamaged and in place? |  |  |  |  |  |  |
| - Are there no signs of weather damage or mold growth in the facility? |  |  |  |  |  |  |
| - Are all windows unbroken and free from any type of damage? |  |  |  |  |  |  |
| - Do air conditioning vents and ducts appear to be clean upon visual inspection? |  |  |  |  |  |  |
| - Are outside lights in good working order? |  |  |  |  |  |  |
| - Does the exterior of the building present no safety concern? |  |  |  |  |  |  |
| - Is the parking lot area free of any safety concern? (i.e. overgrown landscaping, uneven pavement, traffic hazards) |  |  |  |  |  |  |

Additional comments:  ________________________________________________________________________________________________________